## Sheet1
Regulators_config1 | Regulators_config2 | Regulators_config3 | Regulators_config4 | Regulators_config5 | Regulators_config6 | Regulators_config7 | Regulators_config8 | Regulators_config9 | Regulators_config10 | Regulators_config11 | Regulators_config12 | Regulators_config13 | Regulators_config14 | Regulators_config15 | Regulators_config16 | Regulators_config17
1P 12KV 138 - 100/1PT/100/0.2CT | 0 | 13.2 | 138 | 3 | 8 | 1 | 10 | 100 | 100 | 32 | 200 | 200 | YG |  | 200 | 200
1P 12KV 267 - 100/1PT/200/0.2CT | 0 | 13.2 | 267 | 3 | 8 | 1 | 10 | 100 | 200 | 32 | 200 | 200 | YG |  | 200 | 200
1P 13.2KV 288 - 110/1PT/200/0.2CT | 0 | 13.2 | 288 | 3 | 0.93 | 1 | 10 | 110 | 200 | 32 | 200 | 200 | YG |  | 200 | 200
1P 13.8KV 276 - 104/1PT/200/0.2CT | 0 | 13.8 | 276 | 3 | 8 | 1 | 10 | 104 | 200 | 32 | 200 | 200 | YG |  | 200 | 200
1P 14.4KV 144 - 100/1PT/100/0.2CT | 0 | 12 | 144 | 3 | 8 | 1 | 10 | 100 | 100 | 32 | 200 | 200 | YG |  | 200 | 200
1P 14.4KV 144 - 104/1PT/100/0.2CT | 0 | 12 | 144 | 3 | 8 | 1 | 10 | 104 | 100 | 32 | 200 | 200 | YG |  | 200 | 200
1P 14.4KV 144 - 120/1PT/100/0.2CT | 0 | 14.4 | 144 | 3 | 8 | 1 | 10 | 120 | 100 | 32 | 200 | 200 | YG |  | 200 | 200
1P 14.4KV 144 - 120/1PT/50/0.2CT | 0 | 14.4 | 144 | 3 | 8 | 1 | 10 | 120 | 50 | 32 | 200 | 200 | YG |  | 200 | 200
1P 14.4KV 288 - 100/1PT/200/0.2CT | 0 | 12 | 288 | 3 | 8 | 1 | 10 | 100 | 200 | 32 | 200 | 200 | YG |  | 200 | 200
1P 14.4KV 288 - 104/1PT/200/0.2CT | 0 | 12 | 288 | 3 | 8 | 1 | 10 | 100 | 200 | 32 | 200 | 200 | YG |  | 200 | 200
1P 14.4KV 288 - 115/1PT/200/0.2CT | 0 | 14.4 | 288 | 3 | 8 | 1 | 10 | 115 | 200 | 32 | 200 | 200 | YG |  | 200 | 200
1P 14.4KV 288 - 120/1PT/100/0.2CT | 0 | 14.4 | 288 | 3 | 8 | 1 | 10 | 120 | 100 | 32 | 200 | 200 | YG |  | 200 | 200
1P 14.4KV 288 - 120/1PT/200/0.2CT | 0 | 14.4 | 288 | 3 | 8 | 1 | 10 | 120 | 200 | 32 | 200 | 200 | YG |  | 200 | 200
1P 19.9KV 200 - 166/1PT/100/0.2CT | 0 | 19.92 | 200 | 3 | 8 | 1 | 10 | 166 | 100 | 32 | 200 | 220 | YG |  | 200 | 220
1P 19.9KV 400 - 166/1PT/200/0.2CT | 0 | 19.92 | 400 | 3 | 8 | 1 | 10 | 166 | 200 | 32 | 200 | 220 | YG |  | 200 | 220
1P 19.9KV 400 - 166/1PT200/0.2CT | 0 | 19.92 | 400 | 3 | 8 | 1 | 10 | 166 | 200 | 32 | 200 | 220 | YG |  | 200 | 220
1P 2.4KV 150 - 20/1PT/250/0.2CT | 0 | 2.4 | 150 | 3 | 8 | 1 | 10 | 20 | 250 | 32 | 219 | 222 | YG |  | 219 | 222
1P 2.4KV 167 - 20/1PT/250/0.2CT | 0 | 2.4 | 167 | 3 | 8 | 1 | 10 | 20 | 250 | 32 | 219 | 222 | YG |  | 219 | 222
1P 2.4KV 48 - 20/1PT/250/0.2CT | 0 | 2.4 | 48 | 3 | 8 | 1 | 10 | 20 | 250 | 32 | 219 | 222 | YG |  | 219 | 222
1P 20.8KV 250 - 100/1PT/300/0.2CT | 0 | 12 | 250 | 3 | 8 | 1 | 10 | 100 | 300 | 32 | 567 | 567 | YG |  | 640 | 640
1P 20.8KV 250 - 100/1PT/400/0.2CT | 0 | 12 | 250 | 3 | 8 | 1 | 10 | 100 | 400 | 32 | 567 | 567 | YG |  | 640 | 640
1P 20.8KV 250 - 100/1PT/600/0.2CT | 0 | 12 | 250 | 3 | 8 | 1 | 10 | 100 | 600 | 32 | 567 | 567 | YG |  | 640 | 640
1P 20.8KV 250 - 63.5/1PT/400/0.2CT | 0 | 12 | 250 | 3 | 8 | 1 | 10 | 100 | 400 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.2KV 114 - 60/1PT/100/0.2CT | 0 | 7.2 | 114 | 3 | 8 | 1 | 10 | 60 | 100 | 32 | 150 | 165 | YG |  | 150 | 165
1P 7.2KV 114 - 60/1PT/150/0.2CT | 0 | 7.2 | 114 | 3 | 8 | 1 | 10 | 60 | 150 | 32 | 150 | 165 | YG |  | 150 | 165
1P 7.2KV 150- 60/1PT/250/0.2CT | 0 | 7.2 | 150 | 3 | 8 | 1 | 10 | 60 | 250 | 32 | 100 | 110 | YG |  | 100 | 110
1P 7.2KV 167- 60/1PT/250/0.2CT | 0 | 7.2 | 167 | 3 | 8 | 1 | 10 | 60 | 250 | 32 | 100 | 110 | YG |  | 100 | 110
1P 7.2KV 167- 63.5/1PT/250/0.2CT | 0 | 7.2 | 167 | 3 | 8 | 1 | 10 | 63.5 | 250 | 32 | 100 | 110 | YG |  | 100 | 110
1P 7.2KV 250 - 60/1PT/400/0.2CT | 0 | 7.2 | 250 | 3 | 8 | 1 | 10 | 60 | 400 | 32 | 328 | 500 | YG |  | 328 | 500
1P 7.2KV 76 - 60/1PT/100/0.2CT | 0 | 7.2 | 76 | 3 | 8 | 1 | 10 | 60 | 100 | 32 | 100 | 110 | YG |  | 100 | 110
1P 7.2KV 76 - 60/1PT/50/0.2CT | 0 | 7.2 | 76 | 3 | 8 | 1 | 10 | 60 | 50 | 32 | 100 | 110 | YG |  | 100 | 110
1P 7.2KV 76 - 63.5/1PT/100/0.2CT | 0 | 7.2 | 76 | 3 | 8 | 1 | 10 | 63.5 | 100 | 32 | 100 | 110 | YG |  | 100 | 110
1P 7.2KV 76 - 66.7/1PT/100/0.2CT | 0 | 7.2 | 76 | 3 | 8 | 1 | 10 | 66.7 | 100 | 32 | 100 | 110 | YG |  | 100 | 110
1P 7.2KV 88 - 63.5/1PT/50/0.2CT | 0 | 7.2 | 88 | 3 | 8 | 1 | 10 | 63.5 | 50 | 32 | 100 | 110 | YG |  | 100 | 110
1P 7.6KV 114 - 60/1PT/150/0.2CT | 0 | 7.62 | 114 | 3 | 8 | 1 | 10 | 60 | 150 | 32 | 150 | 150 | YG |  | 188 | 188
1P 7.6KV 114 - 63.5/1PT/150/0.2CT | 0 | 7.62 | 114 | 3 | 8 | 1 | 10 | 63.5 | 150 | 32 | 150 | 150 | YG |  | 188 | 188
1P 7.6KV 114 - 66.7/1PT/150/0.2CT | 0 | 7.62 | 114 | 3 | 8 | 1 | 10 | 66.7 | 150 | 32 | 150 | 150 | YG |  | 188 | 188
1P 7.6KV 114 - 69.8/1PT/150/0.2CT | 0 | 7.62 | 114 | 3 | 8 | 1 | 10 | 69.8 | 150 | 32 | 150 | 150 | YG |  | 188 | 188
1P 7.6KV 114 - 70.0/1PT/150/0.2CT | 0 | 7.62 | 114 | 3 | 8 | 1 | 10 | 70 | 150 | 32 | 150 | 150 | YG |  | 188 | 188
1P 7.6KV 114 - 70/1PT/150/0.2CT | 0 | 7.62 | 114 | 3 | 8 | 1 | 10 | 70 | 150 | 32 | 150 | 150 | YG |  | 188 | 188
1P 7.6KV 150 - 60/1PT/250/0.2CT | 0 | 7.62 | 150 | 3 | 8 | 1 | 10 | 60 | 250 | 32 | 378 | 378 | YG |  | 484 | 484
1P 7.6KV 167 - 60/1PT/250/0.2CT | 0 | 7.62 | 167 | 3 | 8 | 1 | 10 | 60 | 250 | 32 | 378 | 378 | YG |  | 484 | 484
1P 7.6KV 167 - 63.5/1PT/250/0.2CT | 0 | 7.62 | 167 | 3 | 8 | 1 | 10 | 63.5 | 250 | 32 | 378 | 378 | YG |  | 484 | 484
1P 7.6KV 167 - 66.7/1PT/150/0.2CT | 0 | 7.62 | 167 | 3 | 8 | 1 | 10 | 66.7 | 150 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 167 - 66.7/1PT/250/0.2CT | 0 | 7.62 | 167 | 3 | 8 | 1 | 10 | 66.7 | 250 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 250 - 60/1PT/400/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 60 | 400 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 250 - 63.5/1PT/100/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 63.5 | 100 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 250 - 63.5/1PT/250/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 63.5 | 250 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 250 - 63.5/1PT/328/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 63.5 | 328 | 32 | 567 | 567 | YG | 250 Kva 63.5 PT 328/0.2 CT | 640 | 640
1P 7.6KV 250 - 63.5/1PT/400/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 63.5 | 400 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 250 - 63.5/1PT/600/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 63.5 | 600 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 250 - 66.7/1PT/250/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 66.7 | 250 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 250 - 66.7/1PT/400/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 66.7 | 400 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 250 - 69.5/1PT/2000/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 69.5 | 2000 | 32 | 567 | 567 | YG | Post Street LTC model - Uses 112.5 kv base | 640 | 640
1P 7.6KV 250 - 70.0/1PT/400/0.2CT | 0 | 7.62 | 250 | 3 | 8 | 1 | 10 | 70 | 400 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 333 - 63.5/1PT/400/0.2CT | 0 | 7.62 | 333 | 3 | 8 | 1 | 10 | 63.5 | 400 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 333 - 63.5/1PT/500/0.2CT | 0 | 7.62 | 333 | 3 | 8 | 1 | 10 | 63.5 | 500 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 38 - 60/1PT/50/0.2CT | 0 | 7.62 | 38 | 3 | 8 | 1 | 10 | 66.7 | 150 | 32 | 173 | 173 | YG |  | 221 | 221
1P 7.6KV 38 - 63.5/1PT/50/0.2CT | 0 | 7.62 | 38 | 3 | 8 | 1 | 10 | 66.7 | 150 | 32 | 173 | 173 | YG |  | 221 | 221
1P 7.6KV 38 - 66.7/1PT/50/0.2CT | 0 | 7.62 | 38 | 3 | 8 | 1 | 10 | 66.7 | 50 | 32 | 173 | 173 | YG |  | 221 | 221
1P 7.6KV 416 - 63.5/1PT/400/0.2CT | 0 | 7.62 | 416 | 3 | 8 | 1 | 10 | 63.5 | 400 | 32 | 567 | 567 | YG |  | 640 | 640
1P 7.6KV 76 - 60/1PT/100/0.2CT | 0 | 7.62 | 76 | 3 | 8 | 1 | 10 | 60 | 100 | 32 | 173 | 173 | YG |  | 221 | 221
1P 7.6KV 76 - 62.5/1PT/100/0.2CT | 0 | 7.62 | 76 | 3 | 8 | 1 | 10 | 62.5 | 100 | 32 | 173 | 173 | YG |  | 221 | 221
1P 7.6KV 76 - 62.6/1PT/100/0.2CT | 0 | 7.62 | 76 | 3 | 8 | 1 | 10 | 62.6 | 100 | 32 | 173 | 173 | YG |  | 221 | 221
1P 7.6KV 76 - 63.5/1PT/100/0.2CT | 0 | 7.62 | 76 | 3 | 8 | 1 | 10 | 63.5 | 100 | 32 | 173 | 173 | YG |  | 221 | 221
1P 7.6KV 76 - 66.7/1PT/100/0.2CT | 0 | 7.62 | 76 | 3 | 8 | 1 | 10 | 66.7 | 100 | 32 | 173 | 173 | YG |  | 221 | 221
3P 13.8KV 300 - 120/1PT/150/5CT | 1 | 13.8 | 300 | 3 | 8 | 1 | 10 | 70.5 | 120 | 32 | 219 | 274 | YG | Not physical PT or CT ratio... | 219 | 274
3P 13.8KV 300 - 120/1PT/30/1CT | 1 | 13.8 | 300 | 3 | 8 | 1 | 10 | 120 | 6 | 32 | 219 | 274 | YG |  | 219 | 274
3P 13.8KV 300 - 120/1PT/6/0.2CT | 1 | 13.8 | 300 | 3 | 8 | 1 | 10 | 120 | 6 | 32 | 219 | 274 | YG |  | 219 | 274
3P 13.8KV 300 - 69.3/1PT/150/5CT | 1 | 13.8 | 300 | 3 | 8 | 1 | 10 | 69.3 | 150 | 32 | 219 | 274 | YG |  | 219 | 274
3P 24.9KV 2000 173.3/1PT/400/0.2CT | 1 | 20.9 | 2000 | 3 | 8 | 1 | 10 | 173.3 | 400 | 32 | 188.3 | 235.4 | Y |  | 188.3 | 235.4
3P 24.9KV 2000 - 173.3/1PT/400/0.2CT | 1 | 20.9 | 2000 | 3 | 8 | 1 | 10 | 173.3 | 400 | 32 | 188.3 | 235.4 | Y |  | 188.3 | 235.4